## DP-H1
DEVICES at WALLMOUNT RACK 15U DP-H1 UNDERWATER |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-H 01 | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-H 001 | K99737213 | 2432AEBE47ID | IP CCTV INDOOR
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-H 002 |  |  | IP CCTV INDOOR
3 | Switch Ruijie2610 | G1SR10J00116B | 7042D395A119 | 3 | Gig 0/3 | CCTV-H 003 | K99737166 | 2432AEBF45EE | IP CCTV INDOOR
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-H 004 | K66737153 | 2417AEBE46E0 | IP CCTV INDOOR
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-H 005 |  |  | IP CCTV OUTDOOR
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6 | CCTV-H 006 |  |  | IP CCTV OUTDOOR
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7 | CCTV-H 007 |  |  | IP CCTV OUTDOOR
8 | UPS / existing | NA | NA | 8 | Gig 0/8 | CCTV-H 008 |  |  | IP CCTV OUTDOOR
|  |  |  | 9 | Gig 0/9 | CCTV-H 009 | K99737150 | 2432AEBE46DE | IP CCTV OUTDOOR
|  |  |  | 10 | Gig 0/10 | CCTV-H 010 | K99737228 | 2432AEBE472C | IP CCTV OUTDOOR
|  |  |  | 11 | Gig 0/11 | DATA-H 001 |  |  | FACEPLATE 1 PORT
|  |  |  | 12 | Gig 0/12 | DATA-H 002 |  |  | FACEPLATE 1 PORT
|  |  |  | 13 | Gig 0/13 | DATA-H 003 |  |  | FACEPLATE 1 PORT
|  |  |  | 14 | Gig 0/14 | AP-H 001 | G1RPCZC015491 | 10823DC8G658 | AP INDOOR
|  |  |  | 15 | Gig 0/15 | AP-H 002 | G1RPBZC063898 | 10823DC685C9 | AP INDOOR
|  |  |  | 16 | Gig 0/16 | AP-H 003 | G1RPCZC015487 | 10823DC8D683 | AP INDOOR
|  |  |  | 17 | Gig 0/17 | AP-H 004 |  |  | AP INDOOR
|  |  |  | 18 | Gig 0/18 | AP-H 005 |  |  | AP OUTDOOR
|  |  |  | 19 | Gig 0/19 | AP-H 006 |  |  | AP OUTDOOR
|  |  |  | 20 | Gig 0/20 | AP-H 007 |  |  | AP OUTDOOR
|  |  |  | 21 | Gig 0/21 | DATA-H 004 |  |  | FACEPLATE 1 PORT
|  |  |  | 22 | Gig 0/22 | DATA-H 005 |  |  | FACEPLATE 1 PORT
|  |  |  | 23 | Gig 0/23 | DATA-H 006 |  |  | FACEPLATE 1 PORT
|  |  |  | 24 | Gig 0/24 | DATA-H 007 |  |  | FACEPLATE 1 PORT
|  |  |  | 25 | Gig 0/25 | DATA-H 008 |  |  | FACEPLATE 1 PORT

## DP-H2
DEVICES at STANDING RACK 32U SUB DP-H2 UNDERWATER |  |  |  | PATCH PANEL 1 CABLE MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-H2 | Device Name | SN | MAC
1 | OTB 12 core SM | NA | NA | 1 | Gig 0/1 | CCTV-H 001
2 | POWER DISTRIBUTION UNIT 8 HOLE |  |  | 2 | Gig 0/2 | CCTV-H 002
3 |  |  |  | 3 | Gig 0/3 | CCTV-H 008
4 |  |  |  | 4 | Gig 0/4 | CCTV-H 009
5 |  |  |  | 5 | Gig 0/5 | CCTV-H 010
6 |  |  |  | 6 | Gig 0/6 | CCTV-H2 001
7 |  |  |  | 7 | Gig 0/7 | CCTV-H2 002
8 |  |  |  | 8 | Gig 0/8 | CCTV-H2 003
|  |  |  | 9 | Gig 0/9 | CCTV-H2 004
|  |  |  | 10 | Gig 0/10 | CCTV-H2 005
|  |  |  | 11 | Gig 0/11
|  |  |  | 12 | Gig 0/12
|  |  |  | 13 | Gig 0/1 | AP-H2 001
|  |  |  | 14 | Gig 0/2 | AP-H2 002
|  |  |  | 15 | Gig 0/3 | DATA-H 004
|  |  |  | 16 | Gig 0/4 | DATA-H 005
|  |  |  | 17 | Gig 0/5
|  |  |  | 18 | Gig 0/6
|  |  |  | 19 | Gig 0/7
|  |  |  | 20 | Gig 0/8
|  |  |  | 21 | Gig 0/9
|  |  |  | 22 | Gig 0/10

## DP-B
DEVICES at WALLMOUNT RACK 15U DP-B |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-B | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-B 001
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-B 002
3 | Switch Ruijie2610 |  |  | 3 | Gig 0/3 | CCTV-B 003
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-B 004
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-B 005
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6 | CCTV-B 006
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7 | CCTV-B 007
8 | UPS / existing | NA | NA | 8 | Gig 0/8 | CCTV-B 008
|  |  |  | 9 | Gig 0/9 | CCTV-B 009
|  |  |  | 10 | Gig 0/10 | CCTV-B 010
|  |  |  | 11 | Gig 0/11 | CCTV-B 011
|  |  |  | 12 | Gig 0/12 | CCTV-B 012
|  |  |  | 13 | Gig 0/1 | CCTV-B 013
|  |  |  | 14 | Gig 0/2 | CCTV-B 014
|  |  |  | 15 | Gig 0/3 | AP-B 001
|  |  |  | 16 | Gig 0/4 | AP-B 002
|  |  |  | 17 | Gig 0/5 | AP-B 003
|  |  |  | 18 | Gig 0/6 | AP-B 004
|  |  |  | 19 | Gig 0/7 | AP-B 005
|  |  |  | 20 | Gig 0/8 | AP-B 006
|  |  |  | 21 | Gig 0/9 | DATA-B 001
|  |  |  | 22 | Gig 0/10 | DATA-B 002
|  |  |  | 23 | Gig 0/11
|  |  |  | 24 | Gig 0/12

## DP-C
DEVICES at WALLMOUNT RACK 15U DP-C SEA LION |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-C | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-C 001
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-C 002
3 | Switch Ruijie2610 |  |  | 3 | Gig 0/3 | CCTV-C 003
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-C 004
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-C 005
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6 | CCTV-C 006
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7 | CCTV-C 007
8 | UPS / existing | NA | NA | 8 | Gig 0/8 | CCTV-C 008
|  |  |  | 9 | Gig 0/9 | CCTV-C 009
|  |  |  | 10 | Gig 0/10 | CCTV-C 010
|  |  |  | 11 | Gig 0/11 | CCTV-C 011
|  |  |  | 12 | Gig 0/12 | CCTV-C 012
|  |  |  | 13 | Gig 0/1 | CCTV-C 013
|  |  |  | 14 | Gig 0/2 | CCTV-C 014
|  |  |  | 15 | Gig 0/3 | CCTV-C 015
|  |  |  | 16 | Gig 0/4 | CCTV-C 016
|  |  |  | 17 | Gig 0/5 | AP-C 001
|  |  |  | 18 | Gig 0/6 | AP-C 006
|  |  |  | 19 | Gig 0/7 | AP-C 007
|  |  |  | 20 | Gig 0/8 | AP-C 008

## DP-K
DEVICES at WALLMOUNT RACK 15U DP-K |  |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  |  | Switch DP-K 01 | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | SWITCH 1 | 1 | Gig 0/1 | CCTV-K 001
2 | OTB 12 core SM |  |  |  | 2 | Gig 0/2 | CCTV-K 002
3 | Switch Ruijie2610 |  |  |  | 3 | Gig 0/3 | CCTV-K 003
4 | SFP Ruijie 10G face to Power House |  |  |  | 4 | Gig 0/4 | CCTV-K 004
5 | SFP Ruijie SM Face to DP-H-New |  |  |  | 5 | Gig 0/5 | CCTV-K 005
6 | Pach Panel Cat6 24 port |  |  |  | 6 | Gig 0/6 | CCTV-K 006
7 | Pach Panel Cat6 24 port |  |  |  | 7 | Gig 0/7 | CCTV-K 007
8 | UPS / existing | NA | NA |  | 8 | Gig 0/8 | CCTV-K 008
[5 empty] | 9 | Gig 0/9 | CCTV-K 009
[5 empty] | 10 | Gig 0/10 | CCTV-K 010
[5 empty] | 11 | Gig 0/11 | CCTV-K 011
[5 empty] | 12 | Gig 0/12 | CCTV-K 012
[5 empty] | 13 | Gig 0/1 | CCTV-K 013
[5 empty] | 14 | Gig 0/2 | CCTV-K 014
[5 empty] | 15 | Gig 0/3 | CCTV-K 015
[5 empty] | 16 | Gig 0/4 | CCTV-K 016
[5 empty] | 17 | Gig 0/5 | CCTV-K 017
[5 empty] | 18 | Gig 0/6 | CCTV-K 018
[5 empty] | 19 | Gig 0/7 | CCTV-K 019
[5 empty] | 20 | Gig 0/8 | CCTV-K 020
[5 empty] | 21 | Gig 0/9 | CCTV-K 021
|  |  |  | SWITCH 2 | 1 | Gig 0/1 | AP K-001
[5 empty] | 2 | Gig 0/2 | AP K-002
[5 empty] | 3 | Gig 0/3 | AP K-003
[5 empty] | 4 | Gig 0/4 | AP K-004

## DP-K2
DEVICES at WALLMOUNT RACK 15U DP-K2 |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-K2 | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-K2 001
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-K2 002
3 | Switch Ruijie2610 |  |  | 3 | Gig 0/3 | CCTV-K2 003
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-K2 004
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-K2 005
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6 | CCTV-K2 006
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7 | CCTV-K2 007
8 | UPS / existing | NA | NA | 8 | Gig 0/8 | CCTV-K2 008
|  |  |  | 9 | Gig 0/9 | CCTV-K2 009
|  |  |  | 10 | Gig 0/10 | CCTV-K2 010
|  |  |  | 11 | Gig 0/11 | CCTV-K2 011
|  |  |  | 12 | Gig 0/12 | CCTV-K2 012
|  |  |  | 13 | Gig 0/1 | AP K2 001
|  |  |  | 14 | Gig 0/2 | AP K2 002
|  |  |  | 15 | Gig 0/3 | AP K2 003
|  |  |  | 16 | Gig 0/4 | AP K2 004

## DP-O
DEVICES at WALLMOUNT RACK 15U DP-O |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-O | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-O 001
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-O 002
3 | Switch Ruijie2610 |  |  | 3 | Gig 0/3 | CCTV-O 003
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-O 004
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-O 005
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7
8 | UPS / existing | NA | NA | 8 | Gig 0/8
|  |  |  | 9 | Gig 0/9
|  |  |  | 10 | Gig 0/10
|  |  |  | 11 | Gig 0/11
|  |  |  | 12 | Gig 0/12
|  |  |  | 13 | Gig 0/1 | AP -O 001
|  |  |  | 14 | Gig 0/2
|  |  |  | 15 | Gig 0/3
|  |  |  | 16 | Gig 0/4
|  |  |  | 17 | Gig 0/5
|  |  |  | 18 | Gig 0/6
|  |  |  | 19 | Gig 0/7
|  |  |  | 20 | Gig 0/8
|  |  |  | 21 | Gig 0/9
|  |  |  | 22 | Gig 0/10
|  |  |  | 23 | Gig 0/11
|  |  |  | 24 | Gig 0/12

## DP-OB
DEVICES at WALLMOUNT RACK 15U DP-OB |  |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  |  | Switch DP-OB | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | SWITCH 1 | 1 | Gig 0/1 | CCTV-OB 001
2 | OTB 12 core SM |  |  |  | 2 | Gig 0/2 | CCTV-OB 002
3 | Switch Ruijie2610 |  |  |  | 3 | Gig 0/3 | CCTV-OB 003
4 | SFP Ruijie 10G face to Power House |  |  |  | 4 | Gig 0/4 | CCTV-OB 004
5 | SFP Ruijie SM Face to DP-H-New |  |  |  | 5 | Gig 0/5 | CCTV-OB 005
6 | Pach Panel Cat6 24 port |  |  |  | 6 | Gig 0/6 | CCTV-OB 006
7 | Pach Panel Cat6 24 port |  |  |  | 7 | Gig 0/7 | CCTV-OB 007
8 | UPS / existing | NA | NA |  | 8 | Gig 0/8 | CCTV-OB 008
[5 empty] | 9 | Gig 0/9 | CCTV-OB 009
[5 empty] | 10 | Gig 0/10 | CCTV-OB 010
[5 empty] | 11 | Gig 0/11 | CCTV-OB 011
[5 empty] | 12 | Gig 0/12 | CCTV-OB 012
|  |  |  | SWITCH 2 | 13 | Gig 0/1 | AP-OB 001
[5 empty] | 14 | Gig 0/2 | AP-OB 002
[5 empty] | 15 | Gig 0/3 | AP-OB 003
[5 empty] | 16 | Gig 0/4 | AP-OB 004
[5 empty] | 17 | Gig 0/5 | AP-OB 005
[5 empty] | 18 | Gig 0/6 | DATA-OB 001
[5 empty] | 19 | Gig 0/7 | DATA-OB 002
[5 empty] | 20 | Gig 0/8 | DATA-OB 003
[5 empty] | 21 | Gig 0/9
[5 empty] | 22 | Gig 0/10
[5 empty] | 23 | Gig 0/11
[5 empty] | 24 | Gig 0/12

## DP-R
DEVICES at WALLMOUNT RACK 15U DP-R |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-R | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-R 001
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-R 002
3 | Switch Ruijie2610 |  |  | 3 | Gig 0/3 | CCTV-R 003
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-R 004
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-R 005
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6 | CCTV-R 006
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7 | CCTV-R 007
8 | UPS / existing | NA | NA | 8 | Gig 0/8
|  |  |  | 9 | Gig 0/9
|  |  |  | 10 | Gig 0/10
|  |  |  | 11 | Gig 0/11
|  |  |  | 12 | Gig 0/12
|  |  |  | 13 | Gig 0/1 | AP-R 001
|  |  |  | 14 | Gig 0/2 | AP-R 002
|  |  |  | 15 | Gig 0/3
|  |  |  | 16 | Gig 0/4
|  |  |  | 17 | Gig 0/5
|  |  |  | 18 | Gig 0/6
|  |  |  | 19 | Gig 0/7
|  |  |  | 20 | Gig 0/8
|  |  |  | 21 | Gig 0/9
|  |  |  | 22 | Gig 0/10
|  |  |  | 23 | Gig 0/11
|  |  |  | 24 | Gig 0/12

## DP-Q
DEVICES at WALLMOUNT RACK 15U DP-Q |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-Q | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-Q 001
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-Q 002
3 | Switch Ruijie2610 |  |  | 3 | Gig 0/3 | CCTV-Q 003
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-Q 004
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-Q 005
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7
8 | UPS / existing | NA | NA | 8 | Gig 0/8
|  |  |  | 9 | Gig 0/9
|  |  |  | 10 | Gig 0/10
|  |  |  | 11 | Gig 0/11
|  |  |  | 12 | Gig 0/12
|  |  |  | 13 | Gig 0/1 | AP-Q 001
|  |  |  | 14 | Gig 0/2 | AP-Q 002
|  |  |  | 15 | Gig 0/3
|  |  |  | 16 | Gig 0/4
|  |  |  | 17 | Gig 0/5
|  |  |  | 18 | Gig 0/6
|  |  |  | 19 | Gig 0/7
|  |  |  | 20 | Gig 0/8
|  |  |  | 21 | Gig 0/9
|  |  |  | 22 | Gig 0/10
|  |  |  | 23 | Gig 0/11
|  |  |  | 24 | Gig 0/12

## DP-S
DEVICES at WALLMOUNT RACK 15U UNDERWATER |  |  |  | PATCH PANEL 1 PORT MAPPING
No | DEVICES NAME | DEVICE |  | Port | Destination |  | DEVICE |  | DEVICE TYPE
|  | SN | MAC |  | Switch DP-H 01 | Device Name | SN | MAC
1 | OTB 6 core MM/ existing |  |  | 1 | Gig 0/1 | CCTV-H 001 |  |  | IP CCTV INDOOR
2 | OTB 12 core SM |  |  | 2 | Gig 0/2 | CCTV-H 002 |  |  | IP CCTV INDOOR
3 | Switch Ruijie2610 |  |  | 3 | Gig 0/3 | CCTV-H 003 |  |  | IP CCTV INDOOR
4 | SFP Ruijie 10G face to Power House |  |  | 4 | Gig 0/4 | CCTV-H 004 |  |  | IP CCTV INDOOR
5 | SFP Ruijie SM Face to DP-H-New |  |  | 5 | Gig 0/5 | CCTV-H 005 |  |  | IP CCTV OUTDOOR
6 | Pach Panel Cat6 24 port |  |  | 6 | Gig 0/6 | CCTV-H 006 |  |  | IP CCTV OUTDOOR
7 | Pach Panel Cat6 24 port |  |  | 7 | Gig 0/7 | CCTV-H 007 |  |  | IP CCTV OUTDOOR
8 | UPS / existing | NA | NA | 8 | Gig 0/8 | CCTV-H 008 |  |  | IP CCTV OUTDOOR
|  |  |  | 9 | Gig 0/9 | CCTV-H 009 |  |  | IP CCTV OUTDOOR
|  |  |  | 10 | Gig 0/10 | DATA-H 001 |  |  | FACEPLATE 1 PORT
|  |  |  | 11 | Gig 0/11 | DATA-H 002 |  |  | FACEPLATE 1 PORT
|  |  |  | 12 | Gig 0/12 | DATA-H 003 |  |  | FACEPLATE 1 PORT
|  |  |  | 13 | Gig 0/1 | AP-H 001 |  |  | AP INDOOR
|  |  |  | 14 | Gig 0/2 | AP-H 002 |  |  | AP INDOOR
|  |  |  | 15 | Gig 0/3 | AP-H 003 |  |  | AP INDOOR
|  |  |  | 16 | Gig 0/4 | AP-H 004 |  |  | AP INDOOR
|  |  |  | 17 | Gig 0/5 | AP-H 005 |  |  | AP OUTDOOR
|  |  |  | 18 | Gig 0/6 | AP-H 006 |  |  | AP OUTDOOR
|  |  |  | 19 | Gig 0/7 | AP-H 007 |  |  | AP OUTDOOR
|  |  |  | 20 | Gig 0/8 | DATA-H 004 |  |  | FACEPLATE 1 PORT
|  |  |  | 21 | Gig 0/9 | DATA-H 005 |  |  | FACEPLATE 1 PORT
|  |  |  | 22 | Gig 0/10 | DATA-H 006 |  |  | FACEPLATE 1 PORT
|  |  |  | 23 | Gig 0/11 | DATA-H 007 |  |  | FACEPLATE 1 PORT
|  |  |  | 24 | Gig 0/12 | DATA-H 008 |  |  | FACEPLATE 1 PORT